## Slide 1
Tbilisi, 9/September/2026
Assessment of regulatory models for the implementation of smart metering systems in the Brazilian distribution system (low voltage)
Ailson de Souza Barbosa
Marcos Vasconcelos
Pedro Melo
Regulatory Specialists at ANEEL

## Slide 2: The Brazilian Electricity Sector in NUMBERS
NUMBER OF CONSUMERS
91.6 MILLION
ACCESS TO ELECTRICITY
99.8%
of the population
CENTRALIZED GENERATION CAPACITY (2025)
218 GW
DISTRIBUTED GENERATION CAPACITY (2025)
49.4 GW
ENERGY MARKET (2025)
647.4 TWh/year
ELECTRICITY LOSSES (2025)
14.7%
TL: 7.4% NTL: 7.3%
SMART METERING (2025)
Diffusion: 4%
TRANSMISSION (2025)
181,782 km

## Slide 3: The Brazilian Electricity Sector in NUMBERS Total de 102 utilities
NUMBER OF CONSUMERS
91.6 MILLION
ACCESS TO ELECTRICITY
99.8%
of the population
CENTRALIZED GENERATION CAPACITY (2025)
218 GW
DISTRIBUTED GENERATION CAPACITY (2025)
49.4 GW
ENERGY MARKET (2025)
647.4 TWh/year
ELECTRICITY LOSSES (2025)
14.7%
TL: 7.4% NTL: 7.3%
SMART METERING (2025)
Diffusion: 4%
TRANSMISSION (2024)
176,169 km

## Slide 4
Why has smart metering become a strategic regulatory issue for Brazil?

## Slide 5: Diagram of Objectives and Expected Results for Regulation
Improve efficiency of electricity distribution services
Increase consumer awareness and optimize electroenergetic resources
from the country
Empowering consumers through market opening, greater transparency, and provision of new services
Improve the management and dissemination of DER
Improve levels of quality and speed in the transfer of collective information
Implement new regulations with the lowest possible tariff impact and risk for the end consumer
Reduce
regulatory barriers to the implementation of smart metering systems in Brazil
The installation of smart meters aligns with the energy transition and the modernization of the Brazilian distribution sector, contributing to a more efficient, transparent, reliable, and sustainable service
Regulatory Problem
1
2
3
4
5
6

## Slide 6
CBA was integrated into AHP to support a balanced regulatory decision
1. Define alternatives
A0, A1, A2
2. CBA - Cost-Benefit Analysis
Quantify costs, monetizable benefits, NPV and B/C ratio
3. AHP - Analytic Hierarchy Process
Compare alternatives against qualitative and quantitative criteria
4. Sensitivity
Test robustness of CBA inputs and AHP weights
5. Recommendation
Select alternative aligned with objectives and public policy
Methodological approach: monetizable + non-monetizable criteria

## Slide 7: Conclusions

## Slide 8: Thank you!
References: ANEEL, GIZ, PSR Energy, SIGLASUL
Ailson de Souza Barbosa Regulatory Specialist at ANEEL
Brasilian Electricity Regulatory Agency
ailson@aneel.gov.br www.aneel.gov.br